Measuring humidity using a sling (swing) psychrometer

(another example of beating a concept to death)

A sling psychrometer consists of 2 thermometers: one is dry and measures the air temperature, the second is wet and measures the "wet bulb" temperature.

Here's what would happen on a dry day.  The rate of evaporation from the wet thermometer depends on the water temperature (initially 4 arrows of evaporation when the water is 80o F).  The rate of condensation depends on the amount of moisture in the air (only 1 arrow of condensation because the RH is 25%).  More evaporation than condensation means the wet thermometer will cool.

The thermometer has cooled to 60o F at which point the rates of evaporation and condensation are equal.  The 20o F difference between the dry and wet bulb thermometers can be used to determine the amount of moisture in the air.